## Slide 1
SpecTcl
Online/Offline Analysis Code Tutorial
Kevin Carnes
3/26/2018

## Slide 2
Online DAQ Linux computers:
Fizeau – Itzik’s group, ECR area
Geissler – Artem’s group, PULSAR
Avogadro – Daniel’s group, PULSAR
Ampere – Raju, Sq. Room
Henry – New machine under development
Offline analysis Linux computers:
All rack mount machines without
consoles, housed in CW31
Auger
Balmer
Fourier
Oppy
Stark
Stern
Newer version of Linux Ubuntu

## Slide 3
Use Private Shell and Xming to
connect to Linux PC from Windows
These can be installed on Windows 7
using “Run Advertised Programs”
For Windows 10, search for Control Panel

## Slide 5
nctop – Linux command to check load and number of users on networked machines
Use this to decide which machine to do analysis on. Only works with offline analysis
machines.
Number of users

## Slide 6
CV1290Decoder.cpp – Actual sorting code, the only file here that is regularly modified
MySpecTclApp.cpp – Registers the sorting code, only changed if additional decoders added
CAnalysisBase.cpp
CAnalysisEventProcessor.cpp – Files related to scalers, not to be edited
CScalerProcessor.cpp
OriginAsciiSpectrumFormatter.cpp – Files related to exporting spectra, not to be edited
RealAsciiSpectrumFormatter.cpp
DataManipulation_v1.3.cpp – File used to further process data, such as delay line fitting or random generation

## Slide 7
Makefile, contains all *.cpp files to compile and link
After modification, or moving to a new directory or machine:
make clean
make

## Slide 8
V785 Slot
V1290 Slot
Scaler processing
MySpecTclApp.cpp ̶ COLTRIMS

## Slide 9
Three decoders for ECR code
MySpecTclApp.cpp ̶ ECR

## Slide 10
userscaler.tcl
Scaler channel name
Scaler channel number
starting at 0
Tcl/Tk command script updating scaler strip charts

## Slide 11
setup.tcl – defines parameters and spectra
parameter number-must be unique
parameter/spectrum size in 2n channels
parameter name
spectrum name
1D spectrum

## Slide 12
setup.tcl, continued
2D Spectrum
Min X channel
Max X channel
Number of channels
Multiple spectra can use the same parameter

## Slide 13
setup.tcl, continued
Define parameter for each hit, up to 8
Single 1D spectrum based on all 8 parameters in paramtlist

## Slide 14
setup.tcl, continued
Define x and y parameters for each hit, up to 8
Multiply incremented 2D spectrum based on all 8
parameter pairs in paramlist

## Slide 15
setup.tcl, continued
Let display know about all defined spectra
Define procedure
Define button
Add button to menu
Scaler update script; source is Tcl command to run

## Slide 16
To run, type: ./SpecTcl, then in window
type: source setup.tcl
Or, type: ./SpecTcl < setup.tcl

## Slide 17
Live scaler display
Sorting control menu

## Slide 18
Start/Stop Run
Clear all spectra
Exit program
Attach Online for DAQ
Select *.evt file
Write out spectrum for
Origin plotting
Sorting Control Menu